Department of Chemistry

Safety Moment of the Month

Replacing Gas Cylinder

August 2025

https://millergroup.web.unc.edu/home/safety/sops/sop-replacing-gas-cylinders/

Step 1

  - Check the gauge to ensure there is no pressure left in the line

  - Unscrew the gauge assembly on the side of the tank

  - Screw on the steel cover

https://millergroup.web.unc.edu/home/safety/sops/sop-replacing-gas-cylinders/

Step 2

  - Undo the retention strap, then carefully roll the tank to the wet room.

    - This will require some practice

  - Place it in the correct area for that gas in the wet room and label it as empty using one of the magnetic prints from the HP

  - Always replace the chain when finished

  - Roll the new tank into place and reattach the gauges and strap